## Slide 1
Fault Detection of Boiler Emulator
Presented By:
Shima Sadat Naseri student number: 40112814

## Slide 2
Content of presentation
02
Preprocess
Labeling & Dimension reduction
03
KNN and MLP
04
CNN
06
Adding scaler,ReduceLROnPlateau and regularizer
07
Transformer
08
Conclusion
01
Dataset information
05
Hybrid Network (LSTM+CNN)

## Slide 3
Dataset information
Viessmann Vitorond 200 Gas Fired Boiler VD2 Series 380 Dataset
Emulator Creation:
  MATLAB/Simulink based on the Simscape model
  Validated with manufacturer test data
Fault Simulation:
  1 normal class
  4 Fault Types:
    Excess Air
    Heat Exchanger Fouling
    Scaling of Water-side Heat Exchanger
    Leaning

## Slide 4
Dataset information
Viessmann Vitorond 200 Gas Fired Boiler VD2 Series 380 Dataset
Operating Conditions:
  Gas Fuel Rate: 1 kg/s to 4 kg/s
  Water Mass Flow Rate: 3 kg/s to 12.5 kg/s
  Combustion Air Temperature: 283 K to 303 K
Sampling Method:
  Factorial Sampling
  Total of 27,281 simulations
Dataset Contents:
  Visible Points to Building Automation System
  Condition (Detailed Class)
  Class (Fault Category)
  6 features in total

## Slide 5
Dataset information
Features:
Fuel_Mdot
T air
T return
T supply
Water_Mdot
Condition

## Slide 6
Normal: 0
Lean: 1
Excess Air: 2
Fouling: 3
Scaling: 4
Preprocess
Labeling

## Slide 7
T-SNE
3 component
Random statement=42
Autoencoder
3 and 4 features
D
C
Preprocess
Dimension reduction
PCA
3 component
LDA
2 component

## Slide 8
T-SNE
Silhouette Score: -0.042
Calinski-Harabasz Index: 266
Davies-Bouldin Index: 258
Autoencoder
Silhouette Score: -0.034
Calinski-Harabasz Index: 1169
Davies-Bouldin Index: 199
D
Preprocess
Dimension reduction
PCA
Silhouette Score: -0.025
Calinski-Harabasz Index: 657
Davies-Bouldin Index: 240
LDA
Silhouette Score: 0.052
Calinski-Harabasz Index: 5271
Davies-Bouldin Index: 69
Silhouette Score: -0.017
Calinski-Harabasz Index: 66
Davies-Bouldin Index: 251
Silhouette Score: -0.025
Calinski-Harabasz Index: 647
Davies-Bouldin Index: 242
3 features
4 features

## Slide 9
D
Preprocess
Dimension reduction
LDA
Silhouette Score: 0.052
Calinski-Harabasz Index: 5271
Davies-Bouldin Index: 69
Correlation of output

## Slide 10
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
KNN and MLP
KNN
Finding the best K
  @ k=17

## Slide 11
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
KNN and MLP
MLP (on main data and LDA output)
Model Architecture:
  Input Shape: (6,1)
  Number of Classes: 5
Neural Network:
  Dense (32 nodes, ReLU)
  Dense (16 nodes, ELU)
  Dense (8 nodes, ELU)
  Output Dense layer (Softmax)
Model Compilation:
  Loss: Sparse Categorical Crossentropy
  Optimizer: Adam (Learning rate = 0.01)
  Metrics: Accuracy
Model Training:
  Batch Size: 32
  Epochs: 30

## Slide 12
Cataract Surgery
Vitrectomy Surgery
KNN and MLP
MLP (on main data)

## Slide 13
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
CNN
Model Architecture:
  Input Shape: (6, 1)
Layers:
  Conv1D (64 filters, kernel size=3, ReLU activation)
  MaxPooling1D (pool size=2)
  Conv1D (32 filters, kernel size=2, ReLU activation)
  Flatten the output of the CNN layers
  Dense Layer (16 nodes, ReLU activation)
  Output Dense Layer with Softmax activation for multi-class classification
Model Compilation:
  Loss: Sparse Categorical Crossentropy
  Optimizer: Adam (Learning rate = 0.06)
  Metrics: Accuracy
Model Training:
  Batch Size: 32
  Epochs: 30

## Slide 14
Cataract Surgery
Vitrectomy Surgery
CNN

## Slide 15
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
Hybrid Network (LSTM+CNN)
Model Architecture:
  Input Shape: (6, 1)
Layers:
  Conv1D (32 filters, kernel size=3, ReLU activation)
  MaxPooling1D (pool size=2)
  Conv1D (32 filters, kernel size=2, ReLU activation)
  LSTM Layer: 16 LSTM units for sequential data processing
  Output Dense Layer with Softmax activation for multi-class classification
Model Compilation:
  Loss: Sparse Categorical Crossentropy
  Optimizer: Adam (Learning rate = 0.04)
  Metrics: Accuracy
Model Training:
  Batch Size: 32
  Epochs: 40

## Slide 16
Cataract Surgery
Vitrectomy Surgery
Hybrid Network (LSTM+CNN)

## Slide 17
Adding scaler, ReduceLROnPlateau, and regularizer

## Slide 18
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
scaler
MinMaxScaler

## Slide 19
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
Scaler in KNN
K=17
K=9
 | Scaler | No scaler
AUC | 0.79 | 0.69
Recall | 0.79 | 0.62
F1 | 0.79 | 0.62
Precision | 0.79 | 0.62

## Slide 20
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
Scaler in MLP (on main data)
 | Scaler | No scaler
AUC | 0.99 | 0.5
Recall | 0.99 | 0
F1 | 0.99 | 0
Precision | 0.99 | 0

## Slide 21
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
Scaler in CNN
 | Scaler | No scaler
AUC | 0.98 | 0.5
Recall | 0.95 | 0
F1 | 0.95 | 0
Precision | 0.95 | 0

## Slide 22
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
Scaler in Hybrid network
 | Scaler | No scaler
AUC | 0.97 | 0.5
Recall | 0.94 | 0
F1 | 0.94 | 0
Precision | 0.94 | 0

## Slide 23
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
ReduceLROnPlateau
Dynamic Learning Rate Adjustment
Monitors Validation Metric
Reduces Learning Rate on Plateau

## Slide 24
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
ReduceLROnPlateau in MLP
 | without | with
AUC | 0.9979 | 0.9989
Recall | 0.9956 | 0.9976
F1 | 0.9956 | 0.9976
Precision | 0.9956 | 0.9976

## Slide 25
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
ReduceLROnPlateau in CNN
 | without | with
AUC | 0.98 | 1
Recall | 0.95 | 1
F1 | 0.95 | 1
Precision | 0.95 | 1

## Slide 26
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
regularizer
Kernel Regularizer:
  Prevents Overfitting
  Penalizes Large Weights (L1 or L2)
  Regularization Strength: λ
Bias Regularizer:
  Penalizes Large Biases
  Helps Generalization
  Regularization Strength: λ

## Slide 27
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
ReduceLROnPlateau and regularizer in MLP (on LDA output)
 | without | with
AUC | 0.5 | 0.92
Recall | 0 | 0.84
F1 | 0 | 0.84
Precision | 0 | 0.84

## Slide 28
Cataract Surgery
Vitrectomy Surgery
Adding scaler, ReduceLROnPlateau, and regularizer
ReduceLROnPlateau and regularizer in Hybrid network
 | without | with
AUC | 0.97 | 0.98
Recall | 0.94 | 0.97
F1 | 0.94 | 0.97
Precision | 0.94 | 0.97

## Slide 29
Training in cataract surgery is one of the key factors needed to ensure high quality cataract surgery with good visual outcomes and patient satisfaction.
Cataract Surgery
Transformer
Transformer Encoder Architecture:
  A custom function transformer_encoder creates a transformer-based model for classification
  The model consists of Dense layers with ReLU activation functions to capture input features
  Multi-Head Attention (Scaled Dot-Product Attention) is applied for learning relationships between input elements
Model Compilation:
  Loss: Sparse Categorical Crossentropy
  Optimizer: Adam (Learning rate = 0.01)
  Metrics: Sparse Categorical Accuracy
Early Stopping in 10 epoch
trained for 100 epochs
  applying early stopping after each epoch

## Slide 30
Cataract Surgery
Transformer
AUC | 0.99
Recall | 0.99
F1 | 0.99
Precision | 0.99

## Slide 31
Conclusion

## Slide 32
T-SNE of each output
Raw data
MLP
CNN
Hybrid
Transformer

## Slide 33
ROC of each output
KNN
CNN
MLP
Transformer
Hybrid

## Slide 34
d
p
l
Duration
Validation Loss
Repeatability
Time spent on development
Network simplicity
MLP: 82.37
CNN: 82.53
Hybrid: 143.52
Tr: 400.32
MLP: 0.0065
CNN: 0.0045
Hybrid: 0.0788
Tr: 0.0286
Transformer
CNN
Hybrid
MLP
Hybrid
MLP
Transformer
CNN
MLP
CNN
Hybrid
Transformer
Numerical Comparison

## Slide 35
b
Using CNN is a Better Option

## Slide 36
suggestion
z
b
c
d
f
8
(
R
6
&
H
'
I
4
Using GAN or VAE to balance the data
Improving the Transformer network
Finding a precise dimension reduction method

## Slide 37
Thanks for your attention